## Sheet1
PART # | PVC FITTINGS | MAX
1 1/2"
200935 | (1 1/2" DWV/PVC Coupling) | 4
200082 | (1 1/2" DWV/PVC Male Adapter) | 2
200943 | (1 1/2" DWV/PVC 90* Elbow) | 4
200749 | (1 1/2" DWV/PVC Street 90* Elbow) | 4
200939 | (1 1/2" DWV/PVC Sanitary 45* Elbow) | 4
200727 | (1 1/2" DWV/PVC Sanitary Street 45* Elbow) | 4
200769 | (1 1/2" DWV/PVC 22 1/2* Elbow) | 4
200777 | (1 1/2" DWV/PVC Street 22 1/2* Elbow) | 4
2"
200702 | (2" DWV/PVC Coupling) | 4
200704 | (2" x 1 1/2" DWV/PVC Reducing Coupling) | 2
201204 | (2" x 1 1/2" DWV/PVC Reducing Bushing) | 4
201147 | (2" DWV/PVC 90* Elbow) | 4
200709 | (2" DWV/PVC Street 90* Elbow) | 4
200706 | (2" DWV/PVC Sanitary 45* Elbow) | 4
201267 | (2" DWV/PVC Street 45* Elbow) | 4
200946 | (2" DWV/PVC 22 1/2* Elbow) | 4
200947 | (2" DWV/PVC Street 22 1/2* Elbow) | 4
3"
200722 | (3" DWV/PVC Coupling) | 3
200938 | (4" x 3" DWV/PVC Reducing Bushing) | 2
200944 | (3" DWV/PVC 90* Elbow) | 3
201208 | (3" DWV/PVC Street 90* Elbow) | 1
ProPress Gas Fittings -GAS
1/2"
200660 | 90's | 10
200658 | street 90's | 10
200655 | 45's | 10
200656 | Street 45's | 10
200648 | couplings | 10
200650 | 3/4 x 1/2 reducing couplings | 10
200662 | tees | 10
200665 | Caps | 10
200653 | Male Adapters | 10
200651 | Female Adapter | 10
3/4"
200659 | 90's | 10
200661 | Street 90's | 10
201268 | 45'S | 10
200657 | street 45's | 10
200649 | couplings | 10
200663 | tee's | 10
200666 | Cap | 10
200664 | 3/4 x 1/2 Tee | 10
200654 | Male Adapter | 10
200652 | Female Adapter | 10
SHARKBITE FITTINGS Permalock
200971 | (1/2" LF Sharkbite Coupling) | 6
201269 | (3/4" LF SharkBite Coupling) | 6
201507 | 1/2 SharkBite tee | 4
201375 | 3/4 SharkBite Ball valve | 1
201376 | 1/2 SharkBite Ball Valve | 1
201373 | 1/2 SharkBite Cap | 6
201374 | 3/4 SharkBite Cap | 6
BLACK IRON FITTINGS / NIPPLES
600390 | 65-603 (1/2" Black Union) | 5
600403 | 65-604 (3/4" Black Union) | 5
600426 | 65-438 (3/4" x 1/2" Black Reducing Coupling) | 5
600386 | 65-183 (1/2" Black 45* Elbow) | 5
600388 | 65-413 (1/2" Black Coupling) | 5
600389 | 65-253 (1/2" Black Tee) | 5
600391 | 65-473 (1/2" Black Cap) | 5
600384 | 65-103 (1/2" Black 90* Elbow) | 5
600385 | 1/2 Black Iron st 90 | 5
600387 | 1/2 Black Iron St 45 | 5
600392 | 1/2 Black Iron Plug | 5
600401 | 65-414 (3/4" Black Coupling) | 5
600404 | 65-474 (3/4" Black Cap) | 5
600399 | 65-184 (3/4" Black 45* Elbow) | 5
600397 | 65-104 (3/4" Black 90* Elbow) | 5
600405 | 3/4 Black Iron Plug | 5
600400 | 3/4 Black Iron St 45 | 5
600398 | 3/4 Black Iron St 90 | 5
600460 | 1/2 x close nipple | 7
600459 | 1/2 x 1-1/2 nipple | 7
600458 | 1/2 x 2 nipple | 7
600457 | 1/2 x 2-1/2 nipple | 7
600456 | 1/2 x 3 nipple | 7
600455 | 1/2 x 3-1/2 nipple | 7
600454 | 1/2 x 4 nipple | 7
600453 | 1/2 x 4-1/2 nipple | 7
600452 | 1/2 x 5 nipple | 7
600451 | 1/2 5-1/2 nipple | 7
600450 | 1/2 x 6 nipple | 7
600422 | 3/4 x close nipple | 6
600628 | 3/4 x 1-1/2 nipple | 6
600629 | 3/4 x 2 nipple | 6
600630 | 3/4 x 2-1/2 nipple | 6
600631 | 3/4 x 3 nipple | 6
600632 | 3/4 x 3-1/2 nipple | 6
600633 | 3/4 x 4 nipple | 6
600634 | 3/4 x 4-1/2 nipple | 6
600424 | 3/4 x 5 nipple | 6
600635 | 3/4 x 5-1/2 nipple | 6
600425 | 3/4 x 6 nipple | 6
PIPE
600672 | (1/2" x 10' Pex Pipe (price/ft)) | 20
600671 | (3/4" x 10' Pex Pipe (price/ft) | 10
600660 | (1 1/2" x 10' DWV/PVC Pipe (price/ft)) | 10
600666 | (2" x 10' DWV/PVC Pipe (price/ft)) | 10
600668 | (3" x 10' DWV/PVC Pipe (price/ft)) | 10
600667 | (1/2" x 10' Hard Copper Pipe (M) (price/ft)) | 40
600665 | (3/4" x 10' Hard Copper Pipe (M) (price/ft)) | 40
600663 | (1" x 10' Hard Copper Pipe (M) (price/ft)) | 20
600559 | (1 1/4" x 10' hard Copper Pipe (M) (price/ft)) | 10
600688 | (1/2" x 10' Hard Copper (L) (price/ft) | 10
600669 | (3/4" x 10' Hard Copper (L) (price/ft) | 10
200921 | (1/4" x 50' (M) Humidifier Line (Box) | 1
SUPPLY / STOPS / VALVES
201310 | (6" 19 Series Anti-Siphon Frost Proof Hydrant) | 2
200550 | (8" 19 Series Anti-Siphon Frost Proof Hydrant) | 2
200546 | (10" 19 Series Anti-Siphon Frost Proof Hydrant) | 2
200122 | (12" 19 Series Anti-Siphon Frost Proof Hydrent) | 2
200968 | (14" 19 Series Anti-Siphon Frost Proof Hydrent) | 2
600153 | Hydrent Holder | 1
200156 | (LF Hose Bibb Vacuum Breaker) | 2
200973 | (1/2" Gas Valve) | 5
200965 | (3/4" Gas Valve) | 5
200157 | (1/2" MIP Boiler Drain) | 6
200974 | (3/4" MIP Boiler Drain) | 6
200237 | (1/2" Ball Valve) | 4
200238 | (3/4" Ball Valve) | 4
200836 | (1" Ball Vavle) | 4
200240 | (1 1/4" Ball Valve) | 2
201199 | (60" SS Washing Machine Connector) | 2
200389 | (Dishwasher Drain Connector) | 2
200386 | 20" Faucet Supply | 4
201036 | 20" Toilet Supply | 4
200387 | Male x Female Faucet Connector | 4
201444 | Female x Female Faucet Connector | 4
200393 | Ice Maker Line | 2
200378 | (1/2" x 3/8" Qtr. Turn Straight Stop) | 10
201032 | (1/2" x 3/8" Qtr. Turn Angle Stop) | 10
201430 | (1/2 x 1/4" Qtr. Turn Angle Stop) | 10
201272 | (1/2 x 1/4" Qtr. Straight Stop | 10
600693 | (1/2 x 3/8 Pex Angle Stop) | 10
600694 | (1/2 x 3/8 Pex Stright Stop) | 10
200429 | (1/2" CTS Split Chrome Escutcheon) | 10
200430 | (1 1/2" IPS Split White Escutcheon) | 10
201054 | (1/2" CTS Chrome Escutcheon) | 10
201274 | (1/2" IPS (3/4" CTS) Split Chrome Escutcheon) | 10
201426 | 1-1/2 in Escutcheon White | 10
200861 | (3/4" PRV) | 2
200103 | (1" PRV) | 2
201275 | (3/4" Main Shut off) | 1
200850 | Moen Posi-Temp W/Stops | 2
201325 | T&P Valve | 2
201276 | (1" Main Shut Off) | 1
TUBULAR / DRAINAGE
200358 | (1 1/2" Master Trap) | 4
200361 | (1 1/2" PVC Double Slip Joint Extension Tube ) | 4
200364 | (1 1/2" PVC Double Flange Tailpiece ) | 4
200355 | (1 1/2" End Outlet Waste) | 4
200494 | (1 1/2" cast to Plastic x Plastic to Plastic CP150 | 2
201132 | (2" Cast to Plastic x Plastic to Plastic Cp200 | 2
201246 | (3" cast toPL x PL Fernco Coupling) P300 | 2
200920 | 4" PL to PL P400 | 2
200918 | 3" Cast To Plastic CP33 | 2
201075 | 4" Cast to Plastic CP44 | 2
200919 | 2" Copper to Plastic CK22 | 2
201309 | 1-1/2 CL PL ST to 1-1/2 K 1-1/4 Pl St CK115 | 2
201329 | 2" CI PL ST to 1-1/2 Pl St CP215 | 2
200422 | ( No-Caulk Shower Drain Plastic) | 1
200348 | (Heavy Duty All Brass Chrome Pop-Up Assembly) | 1
201428 | (Push Button Pop Up Assembly Chrome | 2
201278 | (Push Button Pop Up Assembly Brushed Nickel) | 2
200344 | (Deep Basket Strainer w/Brass Nuts) | 2
201279 | ( Bar Sint Strainer ) | 1
200998 | 41-550 (Lift & Turn Waste & Overflow (PVC)) | 2
601187 | (1 1/2" x 1 1/4" Poly Beveled Slip Joint Washer) | 10
200356 | 1-1/4 Master Trap | 1
CLOSET REPAIR
200427 | (3" x 4" PVC TKO) | 1
201473 | 1/2" Toilet Riser/Spacer | 2
200431 | Closet Flange Extension Kit | 2
600692 | ( Closet Bolt (price/pr)) | 6
600746 | Extra Long Closet Bolts | 2
200833 | (Jumbo Johni Wax Ring w/Horn) | 6
200832 | Johni wax ring | 4
201280 | (Red Korky Flapper) | 4
201432 | 3" Korky Universal Flapper | 1
200859 | ( Fill Valve) | 4
201281 | (Kohler Ball Flapper ) | 1
201282 | (Fluidmaster Universal 3" Flapper) | 2
600520 | (Soft Trimable Wedge-It (10/bag)) | 2
201283 | (Kohler Canister Seal | 2
200210 | (Mansfield Canister Seal) | 2
201040 | 2 in Universal Flapper With Float | 2
200397 | Toilet Tank Trip Lever | 1
201382 | Tank To Bowl Kit | 1
HANGERS
600553 | (1 1/2" J-Hooks (50/box)) | 5
600554 | (2" J-Hooks (50/box)) | 5
600555 | (3" J-Hooks (50/box)) | 5
600019 | (1/2" talons) | 100
600021 | (3/4" Talons) | 100
600023 | (1"" Talons) | 100
200438 | (Copper Strap) | 2
600016 | (Galvanized Strap) | 2
CHEMICALS / MISC
600059 | (1# Sterling Solder) | 1
600036 | (8 oz. Megaloc) | 1
600038 | (14 oz. Plumber's Putty) | 1
600051 | (Oatey 8 oz. H-20 #95 Tinning Flux) | 1
600046 | (16 oz (Pint) Hercules Clear Primer) | 1
600048 | (16 oz (Pint) Hercules Purple Primer) | 1
600047 | (16 oz(Pint ) Hercules Medium Body/ Regular set Glue | 1
600063 | (1/2" Regular Teflon Tape) | 1
600787 | Simple Green | 1
600044 | Hand Wips | 1
600573 | Paper Towels | 4
600702 | Spray Bubbles | 1
600776 | Dabber Bottle Bubbles | 1
600704 | Spray Foam | 2
600052 | Mesh Cloth | 1
600700 | Fluidmaster Dye Tabs | 100
| 1/4" Exterior Screws (box) | 1
| 2 1/2" Exterior Screws(box) | 1
| 2 1/2" Tapcon Screws (Box) | 1
600088 | 1/4" Flue Screws (tub) | 1
600089 | 1" Self Feed Screws (Tub) | 1
600781 | 1/4" Anchor Kits (Box) | 2
600571 | (Water Proof Shoe Covers (price/box of 40pr)) | 1
600062 | Milwaukee Gloves (l) 600177 (XL) | 2
| Drop Cloths | 2
| 3'x15' Runners | 4
| Trash Bags Commercial Grade | 1
600075 | Latex Gloves (Box) | 1
600696 | Clear Silicone | 2
600040 | White Silicone | 2
600927 | Water Test Kit | 1
PLUMBING / OTHER
200533 | M63 Sump Pump | 1
200535 | Check Valve | 2
200873 | 5 gallon Expansion tank | 1
200530 | 2 gallon expansion tank | 2
200205 | (Chrome Plated Tub Spout Slip Fit) | 2
201055 | (Brushed nickel Tub Spout Slip Fit) | 2
200999 | (Moen #1224B Cartridge (OEM)) | 4
200849 | (Moen #1225B Cartridge (OEM)) | 4
201247 | (Moen #1222B Posi Temp Cartridge (OEM)) | 4
201170 | Kohler Rite-Temp Mixing Cap for 1/2 in pressure balance cartridge | 2
201169 | Kohler Rite-Temp Mixing Cap for 1/2 in pressure balance valave | 2
201396 | Delta Tub Shower | 1
200213 | Delta Cartridge | 1
201486 | Pfister Ceramic Cartridge | 1
200837 | Moen Arbor Pull Down Brished Nickel | 1
200838 | Moen Brantford Pull Down Brushed Nickel | 1
200207 | Moen Integra Chrome | 1
200208 | Moen Integra BN | 1
200854 | Moen Chateau Tub/Shower Trim Kit | 2
201285 | Moen Brantford Tub/Shower Trim Kit | 2
201004 | Moen Posi-Temp Extension | 1
201174 | Moen Repair Plate | 1
201011 | Moen Chateau Single Handle Bathroom Faucet | 1
200817 | B-5 (Badger 5 Garbage Disposer) | 2
200818 | CNTR333 (ISE SS 3/4 HP Disposal) | 1
600703 | G11-010 (IDEAL #10 SS Hose Clamp) | 8
200398 | Disposal Power Coard | 2
201446 | Disposial elbow screw in | 1
201290 | Quick Mount | 1
600394 | orange wire nuts | 100
600429 | 3/8" Romex Connectors | 4
201292 | Chrome Sink Hole Cover | 2
201293 | Brushed Nickel Sink Hole Cover | 2
200524 | Laundry box Male Thread W/Hammer Arrestor | 2
200416 | AA Mini Hammer Arrestors (Souix Chief) | 8
200158 | 3/4 Dielectric union | 4
600547 | 3/8 Brass Caps with Washer | 10
600546 | 3/8 brass plug | 10
600548 | 1/4 compression nut | 10
600549 | 1/4 compression plug | 10
600544 | 1/4 compression union | 10
600545 | 3/8 compression union | 4
600550 | 1/4 compression tee | 4
600543 | 3/4 Solid Brass Caps | 4
Pex Fittings
600033 | 3/4 pex rings | 100
600032 | 1/2" pex rings | 50
600349 | 3/4 90 | 10
200049 | 1/2 90 | 10
200057 | 3/4 tee | 10
200052 | 1/2 tee | 10
600483 | 1/2 x 1/2 x 3/4 tee | 10
200630 | 3/4 x 1/2 x 3/4 tee | 10
200056 | 3/4 x 3/4 x 1/2 tee | 10
200054 | 3/4 x 1/2 x 1/2 tee | 10
200060 | 3/4 Plug | 10
200046 | 3/4 coupling | 10
201772 | 1/2 coupling | 10
200977 | 1/2 press pex to copper adapter | 4
201474 | 3/4 Press pex to copper adapter | 4
Flue Pipe and Fittings
201823 | 3 x 24 flue Pipe | 6
201824 | 4 x 24 Flue Pipe | 6
100027 | 3 in Flue 90 | 6
100043 | 4 in Flue 90 | 6
PROPRESS-WATER-VIEGA
1/2"
278172 | coupling with out stop (sleeve) | 20
278047 | coupling with stop | 20
277607 | 45 | 20
277637 | street 45 | 20
277317 | 90 | 20
277347 | street 90 | 20
277377 | 1/2 x 1/2 x1/2 tee | 10
277712 | cap | 10
279215 | Male adaptor (MIP) | 20
279300 | Female Adaptor (FIP) | 20
279190 | Drop ear 90 | 2
3/4"
278177 | coupling with out stop (Sleeve) | 10
278052 | coupling with stop | 10
277023 | 45 | 8
277053 | Street 45 | 9
277022 | 90 | 7
277052 | Street 90 | 7
277387 | 3/4 x 3/4 x 3/4 tee | 4
277402 | 3/4 x 3/4 x 1/2 tee | 4
277717 | cap | 10
279230 | Male adaptor (MIP) | 10
279315 | Female adaptor (FIP) | 10
279195 | Drop ear 90 | 2
278147 | 3/4 X 1/2 reducing coupling | 18
278077 | 3/4 x 1/2 Bushing | 18
1"
277028 | 45 | 4
277058 | Street 45 | 4
277027 | 90 | 4
277057 | Street 90 | 4
277412 | TEE | 2
278057 | Coupling | 7
278182 | Sleeve | 7
279245 | Male adaptor (MIP) | 7
297330 | Female Adaptor (FIP) | 7
200836 | Ball Valve | 2
278082 | 1 x 1/2 Bushing | 2
277437 | 1 x 1 x 3/4 Tee | 2
278087 | 1 x 3/4 Bushing | 6
278152 | 1 x 3/4 Reducing Coupling | 6
277722 | Caps | 10
1/2 in Sweat Fittings
600782 | Sweat Male Adapter | 10
600783 | Sweat Male Adapter | 10
600785 | Sweat cap | 10
201245 | Sweat Tee | 10
201242 | Sweat 45 Street | 10
201241 | Sweat 45 | 10
201244 | Sweat 90 Street | 10
201243 | Sweat 90 | 10
201239 | Sweat Sleeve | 10
601186 | Sweat Coupling | 10
200228 | Sweat Ball Valve | 4
3/4 in Sweat Fittings
600733 | Sweat Male Adapter | 10
600732 | Sweat Female Adapter | 10
600725 | Sweat Cap | 10
600726 | Sweat Tee | 10
600728 | Sweat 45 Street | 10
600727 | Sweat 45 | 10
600729 | Sweat 90 | 10
600731 | Sweat Coupling | 10
600730 | Sweat Sleeve | 10
200229 | Sweat Ball Valve | 4

## Sheet2
PART # | Discription | QTY
Large 1
200358 | (1 1/2" Master Trap) | 4
200356 | 1-1/4 Master Trap | 2
200364 | (1 1/2" PVC Double Flange Tailpiece ) | 2
200355 | (1 1/2" End Outlet Waste) | 2
200361 | (1 1/2" PVC Double Slip Joint Extension Tube ) | 2
601257 | TailPiece Washer 1-1/2 Flanged | 10
601256 | Slip Joint Washer 1-1/2 Beveled | 10
601255 | Slip joint Washer 1-1/4 Beveled | 10
Large 2
200386 | 20" Faucet Supply | 6
201036 | 20" Toilet Supply | 6
201430 | (1/2 x 1/4" Qtr. Turn Angle Stop) | 6
200378 | (1/2" x 3/8" Qtr. Turn Straight Stop) | 6
201032 | (1/2" x 3/8" Qtr. Turn Angle Stop) | 6
600693 | (1/2 x 3/8 Pex Angle Stop) | 4
600694 | (1/2 x 3/8 Pex Stright Stop) | 4
201920 | Dual Shut Off 1/2 x 3/8 x 3/8 | 2
201920 | Dual Shut Off 1/2 x 3/8 x 1/4 | 2
201199 | (60" SS Washing Machine Connector) | 2
200393 | Ice Maker Line | 2
200389 | (Dishwasher Supply Line ) | 2
201313 | Dishwasher Disposal Hose Con | 1
Large 3
200859 | ( Fill Valve) | 2
201432 | 3" Korky Universal Flapper | 1
201282 | (Fluidmaster Universal 3" Flapper) | 2
201040 | 2 in Universal Flapper With Float | 2
201280 | (Red Korky Flapper) | 2
200210 | (Mansfield Canister Seal) | 2
201283 | (Kohler Canister Seal | 2
201382 | Tank To Bowl Kit | 1
600707 | Toilet Caps | 2
600520 | (Soft Trimable Wedge-It (10/bag)) | 1
600692 | ( Closet Bolt (price/pr)) | 4
600746 | Extra Long Closet Bolts | 1
Large 4
200240 | 1-1/4 Ball Valve | 2
278062 | 1-1/4 Coupling | 7
278187 | 1-1/4 Sleeve | 7
277442 | 1-1/4 Tee | 4
277032 | 1-1/4 90 | 7
277062 | 1-1/4 Street 90 | 7
277063 | 1-1/4 Street 45 | 7
277033 | 1-1/4 45 | 7
Large 5
200103 | (1" PRV) Acron | 2
201911 | 3G Pressure Gauge W Adapter 1 in | 4
201912 | 3E Union 1 in | 4
200861 | 3/4 Prv Acron | 2
201909 | 2G Pressure gaue W Adapter 3/4 in | 4
201910 | 2E Union 3/4 | 4
Large 6
200494 | (1 1/2" cast to Plastic x Plastic to Plastic CP150 | 2
201132 | (2" Cast to Plastic x Plastic to Plastic Cp200 | 2
200918 | 3" Cast To Plastic CP33 | 2
201647 | 3 In Pl to Copper | 1
200002 | 1-1/2 Pl to Copper | 1
201309 | 1-1/2 Cl,PL,ST to Copper | 1
200535 | Check Valve | 2
201339 | 1-1/2 Fernco Coupling | 2
Large 7
200935 | (1 1/2" DWV/PVC Coupling) | 4
200943 | (1 1/2" DWV/PVC 90* Elbow) | 4
200749 | (1 1/2" DWV/PVC Street 90* Elbow) | 4
200939 | (1 1/2" DWV/PVC Sanitary 45* Elbow) | 4
200727 | (1 1/2" DWV/PVC Sanitary Street 45* Elbow) | 4
200769 | (1 1/2" DWV/PVC 22 1/2* Elbow) | 4
200777 | (1 1/2" DWV/PVC Street 22 1/2* Elbow) | 4
200701 | (1 1/2" DWV/P-Trap) | 1
Large 8
200702 | (2" DWV/PVC Coupling) | 4
201147 | (2" DWV/PVC 90* Elbow) | 3
200709 | (2" DWV/PVC Street 90* Elbow) | 3
200706 | (2" DWV/PVC Sanitary 45* Elbow) | 3
201267 | (2" DWV/PVC Street 45* Elbow) | 3
200946 | (2" DWV/PVC 22 1/2* Elbow) | 2
200947 | (2" DWV/PVC Street 22 1/2* Elbow) | 2
Large 9
200344 | (Deep Basket Strainer w/Brass Nuts) | 1
201279 | ( Bar Sint Strainer ) | 1
200850 | Moen Posi-Temp W/Stops | 1
200348 | (Heavy Duty All Brass Chrome Pop-Up Assembly) | 1
200205 | (Chrome Plated Tub Spout Slip Fit) | 1
201055 | (Brushed nickel Tub Spout Slip Fit) | 1
201275 | (3/4" Main Shut off) | 1
201276 | (1" Main Shut Off) | 1
Large 10
600019 | (1/2" talons) | 50
600021 | (3/4" Talons) | 50
600023 | (1"" Talons) | 50
600144 | 1/2 Bell hangers | 50
600145 | 3/4 Bell hangers | 50
600478 | 1/2 Mickey | 50
600718 | 3/4 Mickey | 50
600479 | 1 in Mickey | 50
Large 11
600553 | 1-1/2 J-Hook | 5
600554 | 2 in J-Hook | 5
601252 | 5/8 cushion clamp | 10
601253 | 7/8 in cushion clamp | 10
610254 | 1-1/4 in Cushion clamp | 10
200438 | (Copper Strap) | 2
600016 | (Galvanized Strap) | 2
Regular 1 1/2 pro press
278172 | coupling with out stop (sleeve) | 20
278047 | coupling with stop | 20
277607 | 45 | 20
277637 | street 45 | 20
277317 | 90 | 20
277347 | street 90 | 20
277377 | 1/2 x 1/2 x1/2 tee | 10
277712 | cap | 10
279215 | Male adaptor (MIP) | 20
279300 | Female Adaptor (FIP) | 20
279190 | Drop ear 90 | 2
200237 | (1/2" Ball Valve) | 4
278147 | 3/4 X 1/2 reducing coupling | 6
278077 | 3/4 x 1/2 Bushing | 6
Regular 2 3/4 pro press
278177 | coupling with out stop (Sleeve) | 10
278052 | coupling with stop | 10
277023 | 45 | 8
277053 | Street 45 | 9
277022 | 90 | 7
277052 | Street 90 | 7
277387 | 3/4 x 3/4 x 3/4 tee | 4
277402 | 3/4 x 3/4 x 1/2 tee | 4
277717 | cap | 10
279230 | Male adaptor (MIP) | 10
279315 | Female adaptor (FIP) | 10
279195 | Drop ear 90 | 2
278147 | 3/4 X 1/2 reducing coupling | 6
278077 | 3/4 x 1/2 Bushing | 6
200238 | (3/4" Ball Valve) | 4
Regular 3 1 in pro press
277028 | 45 | 4
277058 | Street 45 | 4
277027 | 90 | 4
277057 | Street 90 | 4
277412 | TEE | 2
278057 | Coupling | 7
278182 | Sleeve | 7
279245 | Male adaptor (MIP) | 7
297330 | Female Adaptor (FIP) | 7
200836 | Ball Valve | 2
278082 | 1 x 1/2 Bushing | 2
277437 | 1 x 1 x 3/4 Tee | 2
278087 | 1 x 3/4 Bushing | 6
278152 | 1 x 3/4 Reducing Coupling | 6
277722 | Caps | 10
Regular 4 1/2 Sweat
600782 | Sweat Male Adapter | 10
600783 | Sweat Male Adapter | 10
600785 | Sweat cap | 10
201245 | Sweat Tee | 10
201242 | Sweat 45 Street | 10
201241 | Sweat 45 | 10
201244 | Sweat 90 Street | 10
201243 | Sweat 90 | 10
201239 | Sweat Sleeve | 10
601186 | Sweat Coupling | 10
200228 | Sweat Ball Valve | 4
Regular 5 3/4 Sweat
600733 | Sweat Male Adapter | 10
600732 | Sweat Female Adapter | 10
600725 | Sweat Cap | 10
600726 | Sweat Tee | 10
600728 | Sweat 45 Street | 10
600727 | Sweat 45 | 10
600729 | Sweat 90 | 10
600731 | Sweat Coupling | 10
600730 | Sweat Sleeve | 10
200229 | Sweat Ball Valve | 4
Regular 6 1/2 press gas
200660 | 90's | 10
200658 | street 90's | 10
200655 | 45's | 10
200656 | Street 45's | 10
200648 | couplings | 10
200650 | 3/4 x 1/2 reducing couplings | 10
200662 | tees | 10
200665 | Caps | 10
200653 | Male Adapters | 10
200651 | Female Adapter | 10
Regular 7 3/4 Press Gas
200659 | 90's | 10
200661 | Street 90's | 10
201268 | 45'S | 10
200657 | street 45's | 10
200649 | couplings | 10
200663 | tee's | 10
200666 | Cap | 10
200664 | 3/4 x 1/2 Tee | 10
200654 | Male Adapter | 10
200652 | Female Adapter | 10
Regular 8 1/2 in Black Iron
600390 | 65-603 (1/2" Black Union) | 5
600388 | 65-413 (1/2" Black Coupling) | 5
600392 | 1/2 Black Iron Plug | 5
600391 | 65-473 (1/2" Black Cap) | 5
600389 | 65-253 (1/2" Black Tee) | 5
600384 | 65-103 (1/2" Black 90* Elbow) | 5
600385 | 1/2 Black Iron st 90 | 5
600386 | 65-183 (1/2" Black 45* Elbow) | 5
600387 | 1/2 Black Iron St 45 | 5
200973 | (1/2" Gas Valve) | 5
Regular 9 3/4 Black Iron
600403 | 65-604 (3/4" Black Union) | 5
600401 | 65-414 (3/4" Black Coupling) | 5
600404 | 65-474 (3/4" Black Cap) | 5
600405 | 3/4 Black Iron Plug | 5
600426 | 65-438 (3/4" x 1/2" Black Reducing Coupling) | 5
600397 | 65-104 (3/4" Black 90* Elbow) | 5
600398 | 3/4 Black Iron St 90 | 5
600399 | 65-184 (3/4" Black 45* Elbow) | 5
600400 | 3/4 Black Iron St 45 | 5
200965 | (3/4" Gas Valve) | 5
Regular 10 Pex Fittings 1/2 & 3/4
600032 | 1/2" pex rings | 50
200049 | 1/2 90 | 10
200052 | 1/2 tee | 10
200059 | 1/2 Plug | 10
201772 | 1/2 coupling | 10
200977 | 1/2 press pex to copper adapter | 5
600033 | 3/4 pex rings | 50
600349 | 3/4 90 | 10
200057 | 3/4 tee | 10
200060 | 3/4 Plug | 10
200046 | 3/4 coupling | 10
201474 | 3/4 Press pex to copper adapter | 5
Regular 11 Cartridges
200999 | (Moen #1224B Cartridge (OEM)) | 2
200849 | (Moen #1225B Cartridge (OEM)) | 2
201247 | (Moen #1222B Posi Temp Cartridge (OEM)) | 2
201170 | Kohler Rite-Temp Mixing Cap for 1/2 in pressure balance cartridge | 2
201169 | Kohler Rite-Temp Mixing Cap for 1/2 in pressure balance valave | 2
201004 | Moen Posi-Temp Extension | 1
Regeular 12 Brass Compression
600547 | 3/8 Brass Caps with Washer | 10
600546 | 3/8 brass plug | 10
600548 | 1/4 compression nut | 10
600549 | 1/4 compression plug | 10
600544 | 1/4 compression union | 10
600545 | 3/8 compression union | 4
600550 | 1/4 compression tee | 4
600543 | 3/4 Solid Brass Caps | 4
201740 | 3/4 x 6 Brass Nipple | 2
201501 | 3/4 x 5 Brass Nipple | 2
201538 | 3/4 x 4 Brass Nipple | 2
201537 | 3/4 x 2 Brass Nipple | 2
201026 | 3/4 Brass Tee | 2
Regular 13
200398 | Disposal Power Coard | 2
600394 | orange wire nuts | 100
600429 | 3/8" Romex Connectors | 4
201292 | Chrome Sink Hole Cover | 2
201293 | Brushed Nickel Sink Hole Cover | 2
200416 | AA Mini Hammer Arrestors (Souix Chief) | 8
200429 | (1/2" CTS Split Chrome Escutcheon) | 10
200430 | (1 1/2" IPS Split White Escutcheon) | 10
600153 | Hydrent Holder | 2
Regular 14
201325 | T&P Valve Short | 2
201919 | T&P Valve long | 2
279705 | 3/4 Brass Dielectric Union | 2
200159 | 1 in Dielectric Union | 2
201312 | 3/4 Vacuum Breaker w/Cover | 1
200156 | 3/4 Female x Garden Vac | 4
200157 | (1/2" MIP Boiler Drain) | 4
200974 | (3/4" MIP Boiler Drain) | 4
201902 | 80 psi thermall expansion valve | 2
Regular 15
200833 | (Jumbo Johni Wax Ring w/Horn) | 4
200832 | Johni wax ring | 4
1/2 Nipple Tray
600460 | 1/2 x close nipple | 7
600459 | 1/2 x 1-1/2 nipple | 7
600458 | 1/2 x 2 nipple | 7
600457 | 1/2 x 2-1/2 nipple | 7
600456 | 1/2 x 3 nipple | 7
600455 | 1/2 x 3-1/2 nipple | 7
600454 | 1/2 x 4 nipple | 7
600453 | 1/2 x 4-1/2 nipple | 7
600452 | 1/2 x 5 nipple | 7
600451 | 1/2 5-1/2 nipple | 7
600450 | 1/2 x 6 nipple | 7
3/4 Nipple tray
600422 | 3/4 x close nipple | 6
600628 | 3/4 x 1-1/2 nipple | 6
600629 | 3/4 x 2 nipple | 6
600630 | 3/4 x 2-1/2 nipple | 6
600631 | 3/4 x 3 nipple | 6
600632 | 3/4 x 3-1/2 nipple | 6
600633 | 3/4 x 4 nipple | 6
600634 | 3/4 x 4-1/2 nipple | 6
600424 | 3/4 x 5 nipple | 6
600635 | 3/4 x 5-1/2 nipple | 6
600425 | 3/4 x 6 nipple | 6
Shelf
201823 | 3 x 24 flue Pipe | 4
201824 | 4 x 24 Flue Pipe | 4
100027 | 3 in Flue 90 | 4
100043 | 4 in Flue 90 | 4
200524 | Laundry box Male Thread W/Hammer Arrestor | 1
200529 | Ice Maker Box | 1
201011 | Moen Chateau Single Handle Bathroom Faucet | 1
200817 | B-5 (Badger 5 Garbage Disposer) | 2
201794 | Moen Chateau Tub/Shower Trim Kit Oval | 1
200854 | Moen Chateau Tub/Shower Trim Kit | 1
200873 | 5 gallon Expansion tank | 1
200530 | 2 gallon expansion tank | 1
200533 | M63 Sump Pump | 2
600059 | (1# Sterling Solder) | 1
600036 | (8 oz. Megaloc) | 1
600038 | (14 oz. Plumber's Putty) | 1
600051 | (Oatey 8 oz. H-20 #95 Tinning Flux) | 1
600046 | (16 oz (Pint) Hercules Clear Primer) | 1
600048 | (16 oz (Pint) Hercules Purple Primer) | 1
600047 | (16 oz(Pint ) Hercules Medium Body/ Regular set Glue | 1
600063 | (1/2" Regular Teflon Tape) | 1
600787 | Simple Green | 1
600044 | Hand Wips | 1
600573 | Paper Towels | 4
600702 | Spray Bubbles | 1
600052 | Mesh Cloth | 1
600700 | Fluidmaster Dye Tabs | 100
600088 | 1/4" Flue Screws (tub) | 1
600571 | (Water Proof Shoe Covers (price/box of 40pr)) | 1
600062 | Milwaukee Gloves (l) 600177 (XL) | 2
| Drop Cloths | 2
| 3'x15' Runners | 4
| Trash Bags Commercial Grade | 1
600075 | Latex Gloves (Box) | 1
600696 | Clear Silicone | 2
600040 | White Silicone | 2
600927 | Water Test Kit | 1
201310 | (6" 19 Series Anti-Siphon Frost Proof Hydrant) | 2
200550 | (8" 19 Series Anti-Siphon Frost Proof Hydrant) | 2
200546 | (10" 19 Series Anti-Siphon Frost Proof Hydrant) | 2
200122 | (12" 19 Series Anti-Siphon Frost Proof Hydrent) | 2
200968 | (14" 19 Series Anti-Siphon Frost Proof Hydrent) | 2
201918 | 12 in pex hose bib | 1
200969 | 4 in hose bib | 2
400186 | Gas Connector 1/2 x 18 in Yellow | 1
400047 | Gas Connector 1/2 x 24 in Yellow | 1
400019 | Gas Connector 1/2 x 36 in Yellow | 1
201321 | 8 x 8 Access Panel Spring Loaded | 1
201322 | 14 x 14 Access Panel Spring Loaded | 1
Pipe
600672 | (1/2" x 10' Pex Pipe (price/ft)) | 10
600671 | (3/4" x 10' Pex Pipe (price/ft) | 10
600660 | (1 1/2" x 10' DWV/PVC Pipe (price/ft)) | 10
600666 | (2" x 10' DWV/PVC Pipe (price/ft)) | 10
600667 | (1/2" x 10' Hard Copper Pipe (M) (price/ft)) | 10
600665 | (3/4" x 10' Hard Copper Pipe (M) (price/ft)) | 10
600663 | (1" x 10' Hard Copper Pipe (M) (price/ft)) | 10
600559 | (1 1/4" x 10' hard Copper Pipe (M) (price/ft)) | 10
600688 | (1/2" x 10' Hard Copper (L) (price/ft) | 10
600669 | (3/4" x 10' Hard Copper (L) (price/ft) | 10
601246 | 1/2 pex red | 10
601247 | 3/4 pex Red | 10
601248 | 1/2 pex Blue | 10
601249 | 3/4 Pex Blue | 10
601250 | 1/2 Pex White | 10
601251 | 3/4 Pex White | 10
601223 | 10' x 1-5/8 x 13/16 unistrut install only | 10